## settingData
Case Name | Excel output name
Four Unit Case from Paper | Hasil UC.xls

## standardGenData
Unit | Bus Location | Pmax (KW) | Pmin (KW) | Ramp Up (KW/h) | Ramp Down (KW/h) | Min Up Time (h) | Min Down Time (h)
1 | 21 | 646 | 129.2 | 646 | 646 | 2 | 2
2 | 22 | 725 | 145 | 725 | 725 | 2 | 2
3 | 23 | 652 | 130.4 | 652 | 652 | 2 | 2
4 | 24 | 508 | 101.6 | 508 | 508 | 2 | 2
5 | 25 | 687 | 137.4 | 687 | 687 | 2 | 2
6 | 26 | 580 | 116 | 580 | 580 | 2 | 2

## costGenData
Model | Hot Startup Cost | Cold Startup Cost | Hot Time | Shutdown Cost | P1(Pmax) | P2(Pmax) | P3(Pmax) | P4(Pmax) | P5(Pmax) | P6 (pmax) | F1 | F2 | F3 | F4 | F5 | F6 | M1 | M2 | M3 | M4 | M5 | Cost A | Cost B | Cost C
1 | 9150 | 27450 | 5 | 152.5 | 129.2 | 301.4667 | 473.7333 | 646 | 646 | 646 | 38263.96 | 166774.8933 | 384313.24 | 690879 | 690879 | 690879 | 746 | 1262.8 | 1779.6 | 0 | 0 | 1.5 | 100 | 305
1 | 9030 | 27090 | 5 | 150.5 | 145 | 338.3333 | 531.6667 | 725 | 725 | 725 | 68523.5 | 296850.1667 | 682163.5 | 1224463.5 | 1224463.5 | 1224463.5 | 1181 | 1993 | 2805 | 0 | 0 | 2.1 | 166 | 301
1 | 6000 | 18000 | 5 | 100 | 130.4 | 304.2667 | 478.1333 | 652 | 652 | 652 | 1804.4416 | 4472.7154 | 7745.5815 | 11623.04 | 11623.04 | 11623.04 | 15.3467 | 18.824 | 22.3013 | 0 | 0 | 0.01 | 11 | 200
1 | 9690 | 29070 | 5 | 161.5 | 101.6 | 237.0667 | 372.5333 | 508 | 508 | 508 | 2975.9792 | 8761.309 | 17115.8092 | 28039.48 | 28039.48 | 28039.48 | 42.7067 | 61.672 | 80.6373 | 0 | 0 | 0.07 | 19 | 323
1 | 70560 | 211680 | 5 | 1176 | 137.4 | 320.6 | 503.8 | 687 | 687 | 687 | 25191.7272 | 68566.1592 | 126707.9768 | 199617.18 | 199617.18 | 199617.18 | 236.76 | 317.368 | 397.976 | 0 | 0 | 0.22 | 136 | 2352
1 | 13320 | 39960 | 5 | 222 | 116 | 270.6667 | 425.3333 | 580 | 580 | 580 | 2689.76 | 6102.7378 | 9994.1511 | 14364 | 14364 | 14364 | 22.0667 | 25.16 | 28.2533 | 0 | 0 | 0.01 | 18.2 | 444

## freqRegulationGenData
Primary Reg Cost | Spinning Reserve Cost | Tertiary Reg Cost | Freq Deviation Min | Nominal Freq | Ramp Up PR | Ramp Spinning Reserve | Ramp Up TR | Ramp AGC | Gen Droop (%) | D (MW/Hz) | Inertia | Frequency Deadband | Governor Ramp (KW/s) | FDSS | Pmax
0 | 0 | 0 | -3 | 50 | 1000 | 646 | 0 | 0 | 0.04 | 323 | 7 | 0.033 | 64.6 | 0.967 | 646
0 | 0 | 0 | -3 | 50 | 1000 | 725 | 0 | 0 | 0.04 | 362.5 | 7 | 0.033 | 72.5 | 0.967 | 725
0 | 0 | 0 | -3 | 50 | 1000 | 652 | 0 | 0 | 0.04 | 326 | 7 | 0.033 | 65.2 | 0.967 | 652
0 | 0 | 0 | -3 | 50 | 1000 | 508 | 0 | 0 | 0.04 | 254 | 7 | 0.033 | 50.8 | 0.967 | 508
0 | 0 | 0 | -3 | 50 | 1000 | 687 | 0 | 0 | 0.04 | 343.5 | 7 | 0.033 | 68.7 | 0.967 | 687
0 | 0 | 0 | -3 | 50 | 1000 | 580 | 0 | 0 | 0.04 | 290 | 7 | 0.033 | 58 | 0.967 | 580

## continuityGenData
Init Power | Init Status | Prev Up Time | Prev Down Time
0 | 1 | 8 | 0
0 | 0 | 0 | 5
0 | 0 | 0 | 5
0 | 0 | 0 | 6
0 | 0 | 0 | 3
0 | 0 | 0 | 3

## loadData
t1 | t2 | t3 | t4 | t5 | t6 | t7 | t8 | t9 | t10 | t11 | t12 | t13 | t14 | t15 | t16 | t17 | t18 | t19 | t20 | t21 | t22 | t23 | t24
2962.2317 | 2871.9619 | 2814.2218 | 2759.328 | 2759.1925 | 2898.9344 | 2943.1206 | 2911.2686 | 3122.9824 | 3340.2534 | 3432.4208 | 3467.9323 | 3294.983 | 3415.2072 | 3519.8442 | 3488.67 | 3445.5682 | 3376.8493 | 3412.7674 | 3537.6 | 3501.4108 | 3427.6769 | 3240.7669 | 3098.7207

## powerSun
t1 | t2 | t3 | t4 | t5 | t6 | t7 | t8 | t9 | t10 | t11 | t12 | t13 | t14 | t15 | t16 | t17 | t18 | t19 | t20 | t21 | t22 | t23 | t24
0 | 0 | 0 | 0 | 0 | 0 | 45.0888 | 80.059 | 115.7396 | 145.9172 | 167.3964 | 166.6865 | 180 | 170.2365 | 134.29 | 119.2899 | 76.3314 | 49.5266 | 0 | 0 | 0 | 0 | 0 | 0

## powerWind
t1 | t2 | t3 | t4 | t5 | t6 | t7 | t8 | t9 | t10 | t11 | t12 | t13 | t14 | t15 | t16 | t17 | t18 | t19 | t20 | t21 | t22 | t23 | t24
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## SRContingency
t1 | t2 | t3 | t4 | t5 | t6 | t7 | t8 | t9 | t10 | t11 | t12 | t13 | t14 | t15 | t16 | t17 | t18 | t19 | t20 | t21 | t22 | t23 | t24
1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1

## SRPower
t1 | t2 | t3 | t4 | t5 | t6 | t7 | t8 | t9 | t10 | t11 | t12 | t13 | t14 | t15 | t16 | t17 | t18 | t19 | t20 | t21 | t22 | t23 | t24
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## SRPercentage
t1 | t2 | t3 | t4 | t5 | t6 | t7 | t8 | t9 | t10 | t11 | t12 | t13 | t14 | t15 | t16 | t17 | t18 | t19 | t20 | t21 | t22 | t23 | t24
0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1

## busData
slackBus | baseMVA
21 | 100

## branchData
number | from | to | R | X | lineCap
1 | 1 | 2 | 0 | 0.0128 | 1250
2 | 1 | 10 | 0 | 0.0129 | 1250
3 | 2 | 3 | 0 | 0.0026 | 1250
4 | 2 | 5 | 0 | 0.0112 | 1250
5 | 3 | 4 | 0 | 0.0092 | 1250
6 | 3 | 7 | 0 | 0.0082 | 1250
7 | 4 | 5 | 0 | 0.0046 | 1250
8 | 6 | 7 | 0 | 0.0043 | 1250
9 | 6 | 9 | 0 | 0.0043 | 1250
10 | 9 | 10 | 0 | 0.0101 | 1250
11 | 10 | 11 | 0 | 0.0217 | 1250
12 | 11 | 12 | 0 | 0.0094 | 1250
13 | 12 | 13 | 0 | 0.0089 | 1250
14 | 12 | 15 | 0 | 0.0195 | 1250
15 | 12 | 17 | 0 | 0.0135 | 1250
16 | 12 | 20 | 0 | 0.0059 | 1250
17 | 13 | 14 | 0 | 0.0082 | 1250
18 | 17 | 18 | 0 | 0.014 | 1250
19 | 18 | 19 | 0 | 0.0096 | 1250
20 | 19 | 20 | 0 | 0.035 | 1250
21 | 8 | 7 | 0 | 0.0435 | 1250
22 | 8 | 9 | 0 | 0.0435 | 1250
23 | 3 | 21 | 0 | 0.025 | 1250
24 | 6 | 22 | 0 | 0.02 | 1250
25 | 15 | 23 | 0 | 0.0142 | 1250
26 | 16 | 24 | 0 | 0.018 | 1250
27 | 18 | 25 | 0 | 0.0143 | 1250
28 | 19 | 26 | 0 | 0.0272 | 1250
29 | 15 | 16 | 0 | 0.0138 | 1250

## busLoad
t1 | t2 | t3 | t4 | t5 | t6 | t7 | t8 | t9 | t10 | t11 | t12 | t13 | t14 | t15 | t16 | t17 | t18 | t19 | t20 | t21 | t22 | t23 | t24
418.6782 | 405.9195 | 397.7586 | 390 | 389.9808 | 409.7318 | 415.977 | 411.4751 | 441.3985 | 472.1073 | 485.1341 | 490.1533 | 465.7088 | 482.7011 | 497.4904 | 493.0843 | 486.9923 | 477.2797 | 482.3563 | 500 | 494.8851 | 484.4636 | 458.046 | 437.9693
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
195.7739 | 189.808 | 185.9919 | 182.364 | 182.355 | 191.5906 | 194.5109 | 192.4058 | 206.3979 | 220.7574 | 226.8487 | 229.1957 | 217.7654 | 225.7111 | 232.6265 | 230.5662 | 227.7176 | 223.176 | 225.5498 | 233.8 | 231.4083 | 226.5352 | 214.1823 | 204.7945
437.1 | 423.78 | 415.26 | 407.16 | 407.14 | 427.76 | 434.28 | 429.58 | 460.82 | 492.88 | 506.48 | 511.72 | 486.2 | 503.94 | 519.38 | 514.78 | 508.42 | 498.28 | 503.58 | 522 | 516.66 | 505.78 | 478.2 | 457.24
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6.2802 | 6.0888 | 5.9664 | 5.85 | 5.8497 | 6.146 | 6.2397 | 6.1721 | 6.621 | 7.0816 | 7.277 | 7.3523 | 6.9856 | 7.2405 | 7.4624 | 7.3963 | 7.3049 | 7.1592 | 7.2353 | 7.5 | 7.4233 | 7.267 | 6.8707 | 6.5695
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
267.954 | 259.7885 | 254.5655 | 249.6 | 249.5877 | 262.2284 | 266.2253 | 263.3441 | 282.495 | 302.1487 | 310.4858 | 313.6981 | 298.0536 | 308.9287 | 318.3939 | 315.5739 | 311.6751 | 305.459 | 308.708 | 320 | 316.7264 | 310.0567 | 293.1494 | 280.3004
275.4902 | 267.0951 | 261.7252 | 256.62 | 256.6074 | 269.6035 | 273.7129 | 270.7506 | 290.4402 | 310.6466 | 319.2182 | 322.5208 | 306.4364 | 317.6174 | 327.3487 | 324.4495 | 320.441 | 314.05 | 317.3905 | 329 | 325.6344 | 318.777 | 301.3943 | 288.1838
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
132.3023 | 128.2706 | 125.6917 | 123.24 | 123.2339 | 129.4752 | 131.4487 | 130.0261 | 139.4819 | 149.1859 | 153.3024 | 154.8884 | 147.164 | 152.5336 | 157.207 | 155.8146 | 153.8896 | 150.8204 | 152.4246 | 158 | 156.3837 | 153.0905 | 144.7425 | 138.3983
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
525.8598 | 509.8349 | 499.5848 | 489.84 | 489.8159 | 514.6231 | 522.4671 | 516.8127 | 554.3965 | 592.9667 | 609.3284 | 615.6325 | 584.9303 | 606.2726 | 624.848 | 619.3139 | 611.6624 | 599.4633 | 605.8395 | 628 | 621.5756 | 608.4863 | 575.3057 | 550.0895
229.4356 | 222.4439 | 217.9717 | 213.72 | 213.7095 | 224.533 | 227.9554 | 225.4884 | 241.8864 | 258.7148 | 265.8535 | 268.604 | 255.2084 | 264.5202 | 272.6248 | 270.2102 | 266.8718 | 261.5493 | 264.3313 | 274 | 271.197 | 265.4861 | 251.0092 | 240.0072
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
207.2457 | 200.9302 | 196.8905 | 193.05 | 193.0405 | 202.8172 | 205.9086 | 203.6802 | 218.4922 | 233.6931 | 240.1414 | 242.6259 | 230.5259 | 238.9371 | 246.2578 | 244.0767 | 241.0612 | 236.2534 | 238.7664 | 247.5 | 244.9681 | 239.8095 | 226.7328 | 216.7948
258.4082 | 250.5335 | 245.4966 | 240.708 | 240.6962 | 252.8865 | 256.741 | 253.9624 | 272.4311 | 291.3846 | 299.4248 | 302.5226 | 287.4355 | 297.9231 | 307.0511 | 304.3316 | 300.5717 | 294.577 | 297.7103 | 308.6 | 305.4431 | 299.0109 | 282.706 | 270.3147
7.7037 | 7.4689 | 7.3188 | 7.176 | 7.1756 | 7.5391 | 7.654 | 7.5711 | 8.1217 | 8.6868 | 8.9265 | 9.0188 | 8.569 | 8.8817 | 9.1538 | 9.0728 | 8.9607 | 8.7819 | 8.8754 | 9.2 | 9.1059 | 8.9141 | 8.428 | 8.0586
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## busSun
t1 | t2 | t3 | t4 | t5 | t6 | t7 | t8 | t9 | t10 | t11 | t12 | t13 | t14 | t15 | t16 | t17 | t18 | t19 | t20 | t21 | t22 | t23 | t24
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 45.0888 | 80.059 | 115.7396 | 145.9172 | 167.3964 | 166.6865 | 180 | 170.2365 | 134.29 | 119.2899 | 76.3314 | 49.5266 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## busWind
t1 | t2 | t3 | t4 | t5 | t6 | t7 | t8 | t9 | t10 | t11 | t12 | t13 | t14 | t15 | t16 | t17 | t18 | t19 | t20 | t21 | t22 | t23 | t24
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## batteryData
BatteryID | Bus Location | SOCMax | SOCMin | chargeRateMax | dischargeRateMax | chargeEfiiciency | dischargeEfiiciency | initialSOC | finalSOC | Rs Alloc | Pd max-Rs | Time Resolution

## phsData
PHS ID | PHS Location | UR Max | UR Min | Min Pump | Pump Max (MW) | Min Gen | Generate Max (MW) | Pumping Eff. | Generating Eff. | initial UR | Final UR | PumpDebitMax (m3/h) | GenerateDebitMax(M3/h) | Hydraulic Head (m) | Gravity(m2/s) * k | Water Density | PRCost | RPR Max | Inertia | Governor Ramp Rate | F deadband

## probabilityData
probability
1

## mustOnData
t1 | t2 | t3 | t4 | t5 | t6 | t7 | t8 | t9 | t10 | t11 | t12 | t13 | t14 | t15 | t16 | t17 | t18 | t19 | t20 | t21 | t22 | t23 | t24
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## mustOffData
t1 | t2 | t3 | t4 | t5 | t6 | t7 | t8 | t9 | t10 | t11 | t12 | t13 | t14 | t15 | t16 | t17 | t18 | t19 | t20 | t21 | t22 | t23 | t24
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## reliabilityIndexData
VOLL ($/MWh) | Max EENS | SR Penalty ($/MWh)
2500 | 9999 | 1250